美国  棉花湿度计  C-2000

资料介绍：

OVERVIEWWith the C-2000 moisture meter from Delmhorst, you can effectively measure moisture content, ensuring high-quality cotton every time.

Features:

- Bright, clear digital display.

- Four separate scales for testing lint cotton, seed cotton, wool and viscose/rayon.

- Audible, adjustable alarm alerts you when your pre-selected MC has been reached.

- Averages up to 100 accumulated readings.

- Built-in calibration check.

- Moisture Range: 4%-16% on lint cotton; 6%-20% on seed cotton; 12.3%-25.2% on wool and 6%-22.4% on viscose/rayon.

- Built-in connector accepts any Delmhorst electrode.

- Size: 8" x 3" x 1 5/8".

- Weight: 10 oz.

- Rugged construction ensures years of reliable use.

- Sturdy plastic carrying case.

- 9V battery.