中国电池标准(GB battery standards)

编号; 中文名称; 英文名称. DL/T 5161.9-2002; 电气装置安装工程 质量检验及评定规程 第9部分：蓄电池施工质量检验; (). DL/T 637-1997(2005); 阀控式密封铅酸蓄电池订货技术条件; (). DL/T 724-2000; 电力系统用蓄电池直流电源装置运行与维护技术规程; (). DL/T 857-2004; 发电厂、变电所蓄电池用整流逆变设备技术条件; (). GB 11659-1989; 铅蓄电池厂卫生防护距离标准; Health protection zone standard for lead storage battery plants. GB 18170-2000; 电池车类游艺机通用技术条件; Specifications of amusement rides batterycar category. GB 19521.11-2005; 锂电池组危险货物危险特性检验安全规范; Safety code for inspection of hazardous properties for dangerous goods of lithium batteries. GB 4706.18-2005; 家用和类似用途电器的安全电池充电器的特殊要求; Safety of household and similar electrical appliances Particular requirements for battery chargers. GB 8897.2-2005; 原电池第2部分:外形尺寸和技术要求; Primary batteries Part 2:Physical and technological specifications. GB 8897.4-2002; 原电池第4部分:锂电池的安全要求; Primary batteries--Part 4:Safety of lithium batteries. GB 8897.5-2006; 原电池第5部分：水溶液电解质电池的安全要求; Primary batteries―Part 5: Safety of batteries with aqueous electrolyte. GB/T 10077-1988; 锂电池最大外形尺寸和容量系列; Maximum outside size and capacity series for lithium battery. GB/T 11010-1989; 光谱标准太阳电池; Spectrum standard solar cell. GB/T 11011-1989; 非晶硅太阳电池电性能测试的一般规定; General rules for measurements of electrical characteristics of amorphous silicon solar cells. GB/T 12725-1991; 铁镍碱性蓄电池总规范; General specification for alkaline nickel-iron rechar geable batteries. GB/T 13281-1991; 铁路客车用铅酸蓄电池; Lead-acid batteries used for passenger trains. GB/T 13337.1-1991; 固定型防酸式铅酸蓄电池技术条件; Stationary acidapray-proof lead-acid batteries--Technical conditions. GB/T 13337.2-1991; 固定型防酸式铅酸蓄电池规格及尺寸; Stationary acidspray-proof lead-acid batteries--Capacity specifications and size. GB/T 13603-1992; 船舶蓄电池装置; Marine battery installation. GB/T 15142-2002; 方形开口镉镍单体蓄电池总规范; General specification for Vented nickel-cadmium pris-matic rechargeable single cells. GB/T 17938-1999; 工业车辆电动车辆牵引用铅酸蓄电池优先选用的电压; Industrial trucks--Lead-acid traction batteries for electric trucks--Preferred voltages. GB/T 18270-2000; 镉镍开口蓄电池用电解液; Electrolyte for vented nickel-cadmium cells. GB/T 18287-2000; 蜂窝电话用锂离子电池总规范; General specification of lithium-ion battery for cellular phone. GB/T 18288-2000; 蜂窝电话用金属氢化物镍电池总规范; General specification of nickel-metal hydride battery for cellular phone. GB/T 18289-2000; 蜂窝电话用镉镍电池总规范; General specification of nickel-cadmium battery for cellular phone. GB/T 18332.1-2001; 电动道路车辆用铅酸蓄电池; Lead-acid batteries for electric vehicles. GB/T 18332.2-2001; 电动道路车辆用金属氢化物镍蓄电池; Nickel-metal hydride batteries of electric road vehicles. GB/T 19638.2-2005; 固定型阀控密封式铅酸蓄电池; Lead-acid Batteries For Stationary Valve-Regulated. GB/T 19639.1-2005; 小型阀控密封式铅酸蓄电池技术条件; Technical conditions of small-sized valve-regulated lead-acid batteries. GB/T 19639.2-2007; 小型阀控密封式铅酸蓄电池 产品分类; Product classification of small-sized valve-regulated lead-acid batteries. GB/T 20042.1-2005; 质子交换膜燃料电池术语; Proton Exchange Membrane Fuel Cell -- Terminology. GB/T 20155-2006; 电池中汞、镉、铅含量的测定; Determination of mercury, cadmium and lead in battery. GB/T 20251-2006; 电池用泡沫镍; Nickel foam for battery. GB/T 20253-2006; 可充电电池用冲孔镀镍钢带; Nickel plated punched steel strip for rechargeable battery. GB/T 20839.2-2007; 小型阀控密封式铅酸蓄电池 产品分类; (). GB/T 2296-2001; 太阳电池型号命名方法; Designation method of solar cells(photovoltaic device). GB/T 2900.11-1988; 蓄电池名词术语; Terminology of (secondary) cell or battery. GB/T 2900.62-2003; 电工术语原电池; Electrotechnical terminology--Primary cells and batteries. GB/T 3610-1997; 电池锌饼; Zinc wafer for dry cell. GB/T 3929-1983; 标准电池; Standard cells. GB/T 5008.1-2005; 起动用铅酸蓄电池技术条件; Lead-acid starter batteries technicat conditions. GB/T 5008.2-2005; 起动用铅酸蓄电池产品品种和规格; Lead-acid starters batteries Kinds of products and specifucations. GB/T 5008.3-2005; 起动用铅酸蓄电池端子的尺寸和标记; Lead-acid starter batteries Dimension and marking of terminals. GB/T 6492-1986; 航天用标准太阳电池; Astronautic standard solar cell. GB/T 6494-1986; 航天用太阳电池电性能测试方法; Measurement procedures for electrical characteristics of astronautic solar cells. GB/T 6495.2-1996; 光伏器件第2部分:标准太阳电池的要求; Photovoltaic devices--Part 2:Requirements for reference solar cells. GB/T 6495.5-1997; 光伏器件第5部分:用开路电压法确定光伏(PV)器件的等效电池温度(ECT); Photovoltaic devices--Part 5:Determination of the equivalent cell temperature(ECT) of photovoltaic (PV) devices by the open-circuit voltage method. GB/T 6497-1986; 地面用太阳电池标定的一般规定; The general rules of terrestrial solar cell calibration. GB/T 7169-1987; 碱性蓄电池型号命名方法; Designation of alkaline secondary cell. GB/T 7403.1-2008; 牵引用铅酸蓄电池 第1部分：技术条件; (). GB/T 7403.2-2008; 牵引用铅酸蓄电池 第2部分: 产品品种和规格; (). GB/T 7404.1-2000; 内燃机车用排气式铅酸蓄电池; Vented lead-acid batteries for diesel locomotives. GB/T 7404.2-2000; 内燃机车用阀控密封式铅酸蓄电池; Vavle regulated lead-acid batteries for diesel locomotives. GB/T 8897.1-2003; 原电池第1部分:总则; Primary batteries--Part 1: General. GB/T 8897.3-2006; 原电池第3部分：手表电池; Primary batteries - Part 3: Watch batteries. GB/Z 18333.1-2001; 电动道路车辆用锂离子蓄电池; Lithium-ion batteries for electric road vehicles. GB/Z 18333.2-2001; 电动道路车辆用锌空气蓄电池; Zinc-air batteries for electric road vehicles. HG/T 2692-2007; 蓄电池用硫酸; Sulpheric acid for storage batteries. HG/T 2699-1995; 车辆蓄电池用硬质橡胶技术条件; (). JB/T 10052-1999; 铅酸蓄电池用电解液; (). JB/T 10053-1999; 铅酸蓄电池用水; (). JB/T 10054-1999; 铅酸蓄电池用涤纶排管; (). JB/T 10095-1999; 蓄电池充电浮充电用晶闸管整流器; (). JB/T 10262-2001; 电动助力车用密封铅酸电池; (). JB/T 10679-2006; 铅酸蓄电池用极板; Plate for lead-acid battery. JB/T 10751-2007; 蓄电池牵引车; Battery towing tractor. JB/T 2599-1993; 铅酸蓄电池 产品型号编制方法; (). JB/T 3076-1999; 铅酸蓄电池槽; (). JB/T 3244-2005; 蓄电池前移式叉车; (). JB/T 3942-1997; 煤矿蓄电池式电机车用隔爆型插销连接器; (). JB/T 4091-1997; 煤矿防爆特殊型蓄电池式电机车基本技术条件; (). JB/T 4282-2007; 摩托车用铅酸蓄电池; (). JB/T 50177-1999; 铅蓄电池化成工序电耗分等; (). JB/T 5335-1991; 蓄电池车辆用直流电动机 基本技术条件; (). JB/T 5874-1991; 蓄电池搬运车 电气通用技术条件; (). JB/T 6199-1992; 防爆蓄电池工业车辆 防爆技术通用要求; (). JB/T 6481-1992; 蓄电池车辆用直流斩波器; (). JB/T 6766-1993; 铅酸蓄电池用橡胶、塑料零件尺寸公差; (). JB/T 7568-1994; 煤矿蓄电池式电机车用防爆特殊型电源装置; (). JB/T 7630.1-2008; 铅酸蓄电池超细玻璃纤维隔板; Glass micro-fiber for lead-acid batteries. JB/T 7630.2-2008; 铅酸蓄电池微孔橡胶隔板; Microporous rubber separators for lead-acid batteries. JB/T 7630.3-2008; 铅酸蓄电池烧结聚氯乙烯隔板; Sintered polyvinyl chloride separators for lead-acid batteries. JB/T 7630.4-2008; 铅酸蓄电池熔喷聚丙烯隔板; Melt-spray polypropylene separators for lead-acid batteries. JB/T 7630.5-2008; 铅酸蓄电池微孔聚乙烯隔板; Microporous polyethylene separators for lead-acid batteries. JB/T 7787-1995; 电池式电动工具的安全; (). JB/T 8200-1999; 煤矿防爆特殊型电源装置用铅酸蓄电池; (). JB/T 8441-1996; 电池式电动工具用直流开关; (). JB/T 9478.1-1999; 光电池测量方法 总则; (). JB/T 9478.10-1999; 光电池测量方法 上升时间、下降时间; (). JB/T 9478.11-1999; 光电池测量方法 结电容; (). JB/T 9478.12-1999; 光电池测量方法 反向击穿电压; (). JB/T 9478.2-1999; 光电池测量方法 伏安特性; (). JB/T 9478.3-1999; 光电池测量方法 光电转换效率; (). JB/T 9478.4-1999; 光电池测量方法 照度-电流特性; (). JB/T 9478.5-1999; 光电池测量方法 积分灵敏; (). JB/T 9478.6-1999; 光电池测量方法 暗电流; (). JB/T 9478.7-1999; 光电池测量方法 暗电流温度特性; (). JB/T 9478.8-1999; 光电池测量方法 光谱灵敏度; (). JB/T 9478.9-1999; 光电池测量方法 光谱响应特性; (). JB/T 9653-1999; 储能用铅酸蓄电池; (). JB/T 9654-1999; 铅酸蓄电池用固化管; (). MT/T 1051-2007; 矿灯用锂离子蓄电池; (). MT/T 920-2002; 煤矿防爆特殊型蓄电池式胶套轮电机车型式与参数; (). QB 1972-1994; LR03、LR1 型碱性锌-锰干电池; (). QB 2106-1995; 电池用电解二氧化锰; (). QB/T 1185-1991; LR20 LR14 LR6型碱性锌-锰干电池; (). QB/T 1186-1991; 6F22型-锰干电池; (). QB/T 1246-1991; 电池铁壳成型机; (). QB/T 1258-1991; 铅酸蓄电池用聚氯乙烯微孔隔板; (). QB/T 1495-1992; 事物特性表原电池; (). QB/T 1694-1993; 电池机械产品型号编制方法; (). QB/T 1732-1993; R40型锌-锰干电池; (). QB/T 1758-2000; 电池贴标机; (). QB/T 1759-1993; 扣式电池组装线; (). QB/T 1819-1993; R6纸板电池生产线; (). QB/T 1971.1-1994; 干电池正极帽普通铜帽; (). QB/T 1973-2006; 电池用炭棒; Carbon rods for batteries. QB/T 2303.1-2008; 电池用浆层纸 第1部分：分类及技术要求; (). QB/T 2303.10-2008; 电池用浆层纸 第10部分：pH值的测定; (). QB/T 2303.11-2008; 电池用浆层纸 第11部分：吸液率的测定; (). QB/T 2303.12-2008; 电池用浆层纸 第12部分：渗透速度的测定; (). QB/T 2303.13-2008; 电池用浆层纸 第13部分：抗张强度的测定; (). QB/T 2303.2-2008; 电池用浆层纸 第2部分：纸基厚度的测定; (). QB/T 2303.3-2008; 电池用浆层纸 第3部分：纸基定量的测定; (). QB/T 2303.4-2008; 电池用浆层纸 第4部分：浆层纸厚度的测定; (). QB/T 2303.5-2008; 电池用浆层纸 第5部分：涂布量的测定; (). QB/T 2303.6-2008; 电池用浆层纸 第6部分：含水量的测定; (). QB/T 2303.7-2008; 电池用浆层纸 第7部分：含铁量的测定; (). QB/T 2303.8-2008; 电池用浆层纸 第8部分：含铜量的测定; (). QB/T 2303.9-2008; 电池用浆层纸 第9部分：含汞量的测定; (). QB/T 2389-1998; 锂-二氧化锰扣式电池; (). QB/T 2459.1-1999; LR6、LR03碱性锌锰电池 正极钢壳; (). QB/T 2459.2-1999; LR6、LR03碱性锌锰电池 负极底; (). QB/T 2459.3-1999; LR6、LR03碱性锌锰电池 密封圈; (). QB/T 2459.4-1999; LR6、LR03碱性锌锰电池集流体; (). QB/T 2459.5-1999; LR6、LR03碱性锌锰电池 紧固帽和支撑片; (). QB/T 2502-2000; 锂离子蓄电池总规范; (). QB/T 2576-2002; 无汞碱性锌二氧化锰电池用锌粉; (). QB/T 2629-2004; 无汞碱性锌-二氧化锰电池用电解二氧化锰; (). QB/T 2757-2005; 无汞碱性锌－二氧化锰电池用石墨; (). QB/T 2947.1-2008; 电动自行车用蓄电池及充电器 第1部分：密封铅酸蓄电池及充电器; Electric bicycles-cell or battery and chargers Part 1:Sealed Pb-acid batteries and chargers. QB/T 2947.2-2008; 电动自行车用蓄电池及充电器 第2部分：金属氢化物镍蓄电池及充电器; Electric bicycles-cell or battery and chargers Part 2:matel-oxide Ni-lon batteries and chargers. QB/T 2947.3-2008; 电动自行车用蓄电池及充电器 第3部分：锂离子蓄电池及充电器; Electric bicycles-cell or battery and chargers Part 3:Li-ion batteries and chargers. QB/T 3747-1999; 碱锰扣式电池; Alkaline manganese button batteries. QC/T 29013-1991(2005); 汽车用蓄电池电线接头型式、尺寸和技术要求; (). QC/T 742-2006; 电动道路车辆用铅酸蓄电池; Lead-acid batteries for electric vehicles. QC/T 743-2006; 电动道路车辆用锂离子蓄电池; Lithium-ion batteries for electric vehicles. QC/T 744-2006; 电动道路车辆用金属氢化物镍蓄电池; Nickle-metal hydride batteries for electric vehicles. SH/T 0421-1992; 电池封口剂; (). XB/T 216-1995(2005); 电池级混合稀土金属; (). YS/T 294-1994(2005); 冲压电池壳用硬质合金毛坯; (). YS/T 484-2005; 金属氢化物 镍电池负极用储氢合金 比容量的测定; (). YS/T 565-2006; 电池锌板; (). YS/T 582-2006; 电池级碳酸锂; (). YS/T 612-2006; 太阳能电池用浆料; (). YS/T 661-2007; 电池级氟化锂; Battery grade lithium fluoride. 编号; 中文名称; 英文名称.